## Slits & Ribs (hidden)
3" IPGC | [5 empty] | Max. Useable | Length
Length | # Slits | # Ribs | B2 | Open Area | B1 | Length | Used | Length
(ft) | SL# | SR# | (inches) | (SF) | (inches) | (inches) | (inches) | (in)
0.5 | 4 | 3 | 2.189 | #REF! | 1.875 | 2.25 | 1.936 | 6
1 | 15 | 14 | 2.007 | #REF! | 1.875 | 8.25 | 8.118 | 12
1.5 | 25 | 24 | 2.387 | #REF! | 1.875 | 14.25 | 13.738 | 18
2 | 36 | 35 | 2.205 | #REF! | 1.875 | 20.25 | 19.92 | 24
2.5 | 47 | 46 | 2.023 | #REF! | 1.875 | 26.25 | 26.102 | 30
3 | 57 | 56 | 2.403 | #REF! | 1.875 | 32.25 | 31.722 | 36
3.3333 | 65 | 64 | 1.907 | #REF! | 1.875 | 36.25 | 36.218 | 40
3.5 | 68 | 67 | 2.221 | #REF! | 1.875 | 38.25 | 37.904 | 42
4 | 79 | 78 | 2.039 | #REF! | 1.875 | 44.25 | 44.086 | 48
4.5 | 89 | 88 | 2.419 | #REF! | 1.875 | 50.25 | 49.706 | 54
5 | 100 | 99 | 2.237 | #REF! | 1.875 | 56.25 | 55.888 | 60
5.5 | 111 | 110 | 2.055 | #REF! | 1.875 | 62.25 | 62.07 | 66
6 | 121 | 120 | 2.435 | #REF! | 1.875 | 68.25 | 67.69 | 72
6.5 | 132 | 131 | 2.253 | #REF! | 1.875 | 74.25 | 73.872 | 78
6.6667 | 136 | 135 | 2.005 | #REF! | 1.875 | 76.25 | 76.12 | 80
7 | 143 | 142 | 2.071 | #REF! | 1.875 | 80.25 | 80.054 | 84
7.5 | 154 | 153 | 1.889 | #REF! | 1.875 | 86.25 | 86.236 | 90
8 | 164 | 163 | 2.269 | #REF! | 1.875 | 92.25 | 91.856 | 96
8.5 | 175 | 174 | 2.087 | #REF! | 1.875 | 98.25 | 98.038 | 102
9 | 186 | 185 | 1.905 | #REF! | 1.875 | 104.25 | 104.22 | 108
9.5 | 196 | 195 | 2.285 | #REF! | 1.875 | 110.25 | 109.84 | 114
10 | 207 | 206 | 2.103 | #REF! | 1.875 | 116.25 | 116.022 | 120
10.5 | 218 | 217 | 1.921 | #REF! | 1.875 | 122.25 | 122.204 | 126
11 | 228 | 227 | 2.301 | #REF! | 1.875 | 128.25 | 127.824 | 132
11.5 | 239 | 238 | 2.119 | #REF! | 1.875 | 134.25 | 134.006 | 138
12 | 250 | 249 | 1.937 | #REF! | 1.875 | 140.25 | 140.188 | 144
12.5 | 260 | 259 | 2.317 | #REF! | 1.875 | 146.25 | 145.808 | 150
13 | 271 | 270 | 2.135 | #REF! | 1.875 | 152.25 | 151.99 | 156
13.3333 | 278 | 277 | 2.201 | #REF! | 1.875 | 156.25 | 155.924 | 160
13.5 | 282 | 281 | 1.953 | #REF! | 1.875 | 158.25 | 158.172 | 162
14 | 292 | 291 | 2.333 | #REF! | 1.875 | 164.25 | 163.792 | 168
14.5 | 303 | 302 | 2.151 | #REF! | 1.875 | 170.25 | 169.974 | 174
15 | 314 | 313 | 1.969 | #REF! | 1.875 | 176.25 | 176.156 | 180
15.5 | 324 | 323 | 2.349 | #REF! | 1.875 | 182.25 | 181.776 | 186
16 | 335 | 334 | 2.167 | #REF! | 1.875 | 188.25 | 187.958 | 192
16.5 | 346 | 345 | 1.985 | #REF! | 1.875 | 194.25 | 194.14 | 198
16.6667 | 349 | 348 | 2.299 | #REF! | 1.875 | 196.25 | 195.826 | 200
17 | 356 | 355 | 2.365 | #REF! | 1.875 | 200.25 | 199.76 | 204
17.5 | 367 | 366 | 2.183 | #REF! | 1.875 | 206.25 | 205.942 | 210
18 | 378 | 377 | 2.001 | #REF! | 1.875 | 212.25 | 212.124 | 216
18.5 | 388 | 387 | 2.381 | #REF! | 1.875 | 218.25 | 217.744 | 222
19 | 399 | 398 | 2.199 | #REF! | 1.875 | 224.25 | 223.926 | 228
19.5 | 410 | 409 | 2.017 | #REF! | 1.875 | 230.25 | 230.108 | 234
20 | 420 | 419 | 2.397 | #REF! | 1.875 | 236.25 | 235.728 | 240
4" IPGC | [5 empty] | Max. Useable | Length
Length | # Slits | # Ribs | B2 | Open Area | B1 | Length | Used | Length
(ft) | SL# | SR# | (inches) | (SF) | (inches) | (inches) | (inches) | (in)
0.5 | 4 | 3 | 2.064 | #REF! | 2 | 2 | 1.936 | 6
1 | 14 | 13 | 2.444 | #REF! | 2 | 8 | 7.556 | 12
1.5 | 25 | 24 | 2.262 | #REF! | 2 | 14 | 13.738 | 18
2 | 36 | 35 | 2.08 | #REF! | 2 | 20 | 19.92 | 24
2.5 | 46 | 45 | 2.46 | #REF! | 2 | 26 | 25.54 | 30
3 | 57 | 56 | 2.278 | #REF! | 2 | 32 | 31.722 | 36
3.3333 | 64 | 63 | 2.344 | #REF! | 2 | 36 | 35.656 | 40
3.5 | 68 | 67 | 2.096 | #REF! | 2 | 38 | 37.904 | 42
4 | 78 | 77 | 2.476 | #REF! | 2 | 44 | 43.524 | 48
4.5 | 89 | 88 | 2.294 | #REF! | 2 | 50 | 49.706 | 54
5 | 100 | 99 | 2.112 | #REF! | 2 | 56 | 55.888 | 60
5.5 | 110 | 109 | 2.492 | #REF! | 2 | 62 | 61.508 | 66
6 | 121 | 120 | 2.31 | #REF! | 2 | 68 | 67.69 | 72
6.5 | 132 | 131 | 2.128 | #REF! | 2 | 74 | 73.872 | 78
6.6667 | 135 | 134 | 2.442 | #REF! | 2 | 76 | 75.558 | 80
7 | 142 | 141 | 2.508 | #REF! | 2 | 80 | 79.492 | 84
7.5 | 153 | 152 | 2.326 | #REF! | 2 | 86 | 85.674 | 90
8 | 164 | 163 | 2.144 | #REF! | 2 | 92 | 91.856 | 96
8.5 | 174 | 173 | 2.524 | #REF! | 2 | 98 | 97.476 | 102
9 | 185 | 184 | 2.342 | #REF! | 2 | 104 | 103.658 | 108
9.5 | 196 | 195 | 2.16 | #REF! | 2 | 110 | 109.84 | 114
10 | 206 | 205 | 2.54 | #REF! | 2 | 116 | 115.46 | 120
10.5 | 217 | 216 | 2.358 | #REF! | 2 | 122 | 121.642 | 126
11 | 228 | 227 | 2.176 | #REF! | 2 | 128 | 127.824 | 132
11.5 | 238 | 237 | 2.556 | #REF! | 2 | 134 | 133.444 | 138
12 | 249 | 248 | 2.374 | #REF! | 2 | 140 | 139.626 | 144
12.5 | 260 | 259 | 2.192 | #REF! | 2 | 146 | 145.808 | 150
13 | 271 | 270 | 2.01 | #REF! | 2 | 152 | 151.99 | 156
13.3333 | 278 | 277 | 2.076 | #REF! | 2 | 156 | 155.924 | 160
13.5 | 281 | 280 | 2.39 | #REF! | 2 | 158 | 157.61 | 162
14 | 292 | 291 | 2.208 | #REF! | 2 | 164 | 163.792 | 168
14.5 | 303 | 302 | 2.026 | #REF! | 2 | 170 | 169.974 | 174
15 | 313 | 312 | 2.406 | #REF! | 2 | 176 | 175.594 | 180
15.5 | 324 | 323 | 2.224 | #REF! | 2 | 182 | 181.776 | 186
16 | 335 | 334 | 2.042 | #REF! | 2 | 188 | 187.958 | 192
16.5 | 345 | 344 | 2.422 | #REF! | 2 | 194 | 193.578 | 198
16.6667 | 349 | 348 | 2.174 | #REF! | 2 | 196 | 195.826 | 200
17 | 356 | 355 | 2.24 | #REF! | 2 | 200 | 199.76 | 204
17.5 | 367 | 366 | 2.058 | #REF! | 2 | 206 | 205.942 | 210
18 | 377 | 376 | 2.438 | #REF! | 2 | 212 | 211.562 | 216
18.5 | 388 | 387 | 2.256 | #REF! | 2 | 218 | 217.744 | 222
19 | 399 | 398 | 2.074 | #REF! | 2 | 224 | 223.926 | 228
19.5 | 409 | 408 | 2.454 | #REF! | 2 | 230 | 229.546 | 234
20 | 420 | 419 | 2.272 | #REF! | 2 | 236 | 235.728 | 240
6" IPGC | [5 empty] | Max. Useable | Length
Length | # Slits | # Ribs | B2 | Open Area | B1 | Length | Used | Length
(ft) | SL# | SR# | (inches) | (SF) | (inches) | (inches) | (inches) | (in)
1 | 11 | 10 | 3.13 | #REF! | 3 | 6 | 5.87 | 12
1.5 | 21 | 20 | 3.51 | #REF! | 3 | 12 | 11.49 | 18
2 | 32 | 31 | 3.328 | #REF! | 3 | 18 | 17.672 | 24
2.5 | 43 | 42 | 3.146 | #REF! | 3 | 24 | 23.854 | 30
3 | 53 | 52 | 3.526 | #REF! | 3 | 30 | 29.474 | 36
3.3333 | 61 | 60 | 3.03 | #REF! | 3 | 34 | 33.97 | 40
3.5 | 64 | 63 | 3.344 | #REF! | 3 | 36 | 35.656 | 42
4 | 75 | 74 | 3.162 | #REF! | 3 | 42 | 41.838 | 48
4.5 | 85 | 84 | 3.542 | #REF! | 3 | 48 | 47.458 | 54
5 | 96 | 95 | 3.36 | #REF! | 3 | 54 | 53.64 | 60
5.5 | 107 | 106 | 3.178 | #REF! | 3 | 60 | 59.822 | 66
6 | 117 | 116 | 3.558 | #REF! | 3 | 66 | 65.442 | 72
6.5 | 128 | 127 | 3.376 | #REF! | 3 | 72 | 71.624 | 78
6.6667 | 132 | 131 | 3.128 | #REF! | 3 | 74 | 73.872 | 80
7 | 139 | 138 | 3.194 | #REF! | 3 | 78 | 77.806 | 84
7.5 | 150 | 149 | 3.012 | #REF! | 3 | 84 | 83.988 | 90
8 | 160 | 159 | 3.392 | #REF! | 3 | 90 | 89.608 | 96
8.5 | 171 | 170 | 3.21 | #REF! | 3 | 96 | 95.79 | 102
9 | 182 | 181 | 3.028 | #REF! | 3 | 102 | 101.972 | 108
9.5 | 192 | 191 | 3.408 | #REF! | 3 | 108 | 107.592 | 114
10 | 203 | 202 | 3.226 | #REF! | 3 | 114 | 113.774 | 120
10.5 | 214 | 213 | 3.044 | #REF! | 3 | 120 | 119.956 | 126
11 | 224 | 223 | 3.424 | #REF! | 3 | 126 | 125.576 | 132
11.5 | 235 | 234 | 3.242 | #REF! | 3 | 132 | 131.758 | 138
12 | 246 | 245 | 3.06 | #REF! | 3 | 138 | 137.94 | 144
12.5 | 256 | 255 | 3.44 | #REF! | 3 | 144 | 143.56 | 150
13 | 267 | 266 | 3.258 | #REF! | 3 | 150 | 149.742 | 156
13.3333 | 274 | 273 | 3.324 | #REF! | 3 | 154 | 153.676 | 160
13.5 | 278 | 277 | 3.076 | #REF! | 3 | 156 | 155.924 | 162
14 | 288 | 287 | 3.456 | #REF! | 3 | 162 | 161.544 | 168
14.5 | 299 | 298 | 3.274 | #REF! | 3 | 168 | 167.726 | 174
15 | 310 | 309 | 3.092 | #REF! | 3 | 174 | 173.908 | 180
15.5 | 320 | 319 | 3.472 | #REF! | 3 | 180 | 179.528 | 186
16 | 331 | 330 | 3.29 | #REF! | 3 | 186 | 185.71 | 192
16.5 | 342 | 341 | 3.108 | #REF! | 3 | 192 | 191.892 | 198
16.6667 | 345 | 344 | 3.422 | #REF! | 3 | 194 | 193.578 | 200
17 | 352 | 351 | 3.488 | #REF! | 3 | 198 | 197.512 | 204
17.5 | 363 | 362 | 3.306 | #REF! | 3 | 204 | 203.694 | 210
18 | 374 | 373 | 3.124 | #REF! | 3 | 210 | 209.876 | 216
18.5 | 384 | 383 | 3.504 | #REF! | 3 | 216 | 215.496 | 222
19 | 395 | 394 | 3.322 | #REF! | 3 | 222 | 221.678 | 228
19.5 | 406 | 405 | 3.14 | #REF! | 3 | 228 | 227.86 | 234
20 | 416 | 415 | 3.52 | #REF! | 3 | 234 | 233.48 | 240
8" IPGC | [5 empty] | Max. Useable | Length
Length | # Slits | # Ribs | B2 | Open Area | B1 | Length | Used | Length
(ft) | SL# | SR# | (inches) | (SF) | (inches) | (inches) | (inches) | (in)
1 | 7 | 6 | 4.378 | #REF! | 4 | 4 | 3.622 | 12
1.5 | 18 | 17 | 4.196 | #REF! | 4 | 10 | 9.804 | 18
2 | 29 | 28 | 4.014 | #REF! | 4 | 16 | 15.986 | 24
2.5 | 39 | 38 | 4.394 | #REF! | 4 | 22 | 21.606 | 30
3 | 50 | 49 | 4.212 | #REF! | 4 | 28 | 27.788 | 36
3.3333 | 57 | 56 | 4.278 | #REF! | 4 | 32 | 31.722 | 40
3.5 | 61 | 60 | 4.03 | #REF! | 4 | 34 | 33.97 | 42
4 | 71 | 70 | 4.41 | #REF! | 4 | 40 | 39.59 | 48
4.5 | 82 | 81 | 4.228 | #REF! | 4 | 46 | 45.772 | 54
5 | 93 | 92 | 4.046 | #REF! | 4 | 52 | 51.954 | 60
5.5 | 103 | 102 | 4.426 | #REF! | 4 | 58 | 57.574 | 66
6 | 114 | 113 | 4.244 | #REF! | 4 | 64 | 63.756 | 72
6.5 | 125 | 124 | 4.062 | #REF! | 4 | 70 | 69.938 | 78
6.6667 | 128 | 127 | 4.376 | #REF! | 4 | 72 | 71.624 | 80
7 | 135 | 134 | 4.442 | #REF! | 4 | 76 | 75.558 | 84
7.5 | 146 | 145 | 4.26 | #REF! | 4 | 82 | 81.74 | 90
8 | 157 | 156 | 4.078 | #REF! | 4 | 88 | 87.922 | 96
8.5 | 167 | 166 | 4.458 | #REF! | 4 | 94 | 93.542 | 102
9 | 178 | 177 | 4.276 | #REF! | 4 | 100 | 99.724 | 108
9.5 | 189 | 188 | 4.094 | #REF! | 4 | 106 | 105.906 | 114
10 | 199 | 198 | 4.474 | #REF! | 4 | 112 | 111.526 | 120
10.5 | 210 | 209 | 4.292 | #REF! | 4 | 118 | 117.708 | 126
11 | 221 | 220 | 4.11 | #REF! | 4 | 124 | 123.89 | 132
11.5 | 231 | 230 | 4.49 | #REF! | 4 | 130 | 129.51 | 138
12 | 242 | 241 | 4.308 | #REF! | 4 | 136 | 135.692 | 144
12.5 | 253 | 252 | 4.126 | #REF! | 4 | 142 | 141.874 | 150
13 | 263 | 262 | 4.506 | #REF! | 4 | 148 | 147.494 | 156
13.3333 | 271 | 270 | 4.01 | #REF! | 4 | 152 | 151.99 | 160
13.5 | 274 | 273 | 4.324 | #REF! | 4 | 154 | 153.676 | 162
14 | 285 | 284 | 4.142 | #REF! | 4 | 160 | 159.858 | 168
14.5 | 295 | 294 | 4.522 | #REF! | 4 | 166 | 165.478 | 174
15 | 306 | 305 | 4.34 | #REF! | 4 | 172 | 171.66 | 180
15.5 | 317 | 316 | 4.158 | #REF! | 4 | 178 | 177.842 | 186
16 | 327 | 326 | 4.538 | #REF! | 4 | 184 | 183.462 | 192
16.5 | 338 | 337 | 4.356 | #REF! | 4 | 190 | 189.644 | 198
16.6667 | 342 | 341 | 4.108 | #REF! | 4 | 192 | 191.892 | 200
17 | 349 | 348 | 4.174 | #REF! | 4 | 196 | 195.826 | 204
17.5 | 359 | 358 | 4.554 | #REF! | 4 | 202 | 201.446 | 210
18 | 370 | 369 | 4.372 | #REF! | 4 | 208 | 207.628 | 216
18.5 | 381 | 380 | 4.19 | #REF! | 4 | 214 | 213.81 | 222
19 | 392 | 391 | 4.008 | #REF! | 4 | 220 | 219.992 | 228
19.5 | 402 | 401 | 4.388 | #REF! | 4 | 226 | 225.612 | 234
20 | 413 | 412 | 4.206 | #REF! | 4 | 232 | 231.794 | 240
8" IPGC - With Center Support - *Per Side of Support | [5 empty] | Max. Useable | Length
Length | # Slits* | # Ribs* | B2 | Open Area | B1 | Length | Used | Length
(ft) | SL# | SR# | (inches) | (SF) | (inches) | (inches) | (inches) | (in)
1 | 7 | 6 | 4.378 | #REF! | 4 | 4 | 3.622 | 12
1.5 | 18 | 17 | 4.196 | #REF! | 4 | 10 | 9.804 | 18
2 | 29 | 28 | 4.014 | #REF! | 4 | 16 | 15.986 | 24
2.5 | 39 | 38 | 4.394 | #REF! | 4 | 22 | 21.606 | 30
3 | 50 | 49 | 4.212 | #REF! | 4 | 28 | 27.788 | 36
3.3333 | 57 | 56 | 4.278 | #REF! | 4 | 32 | 31.722 | 40
3.5 | 61 | 60 | 4.03 | #REF! | 4 | 34 | 33.97 | 42
4 | 71 | 70 | 4.41 | #REF! | 4 | 40 | 39.59 | 48
4.5 | 82 | 81 | 4.228 | #REF! | 4 | 46 | 45.772 | 54
5 | 93 | 92 | 4.046 | #REF! | 4 | 52 | 51.954 | 60
5.5 | 103 | 102 | 4.426 | #REF! | 4 | 58 | 57.574 | 66
6 | 114 | 113 | 4.244 | #REF! | 4 | 64 | 63.756 | 72
6.5 | 125 | 124 | 4.062 | #REF! | 4 | 70 | 69.938 | 78
6.6667 | 128 | 127 | 4.376 | #REF! | 4 | 72 | 71.624 | 80
7 | 135 | 134 | 4.442 | #REF! | 4 | 76 | 75.558 | 84
7.5 | 146 | 145 | 4.26 | #REF! | 4 | 82 | 81.74 | 90
8 | 157 | 156 | 4.078 | #REF! | 4 | 88 | 87.922 | 96
8.5 | 167 | 166 | 4.458 | #REF! | 4 | 94 | 93.542 | 102
9 | 178 | 177 | 4.276 | #REF! | 4 | 100 | 99.724 | 108
9.5 | 189 | 188 | 4.094 | #REF! | 4 | 106 | 105.906 | 114
10 | 199 | 198 | 4.474 | #REF! | 4 | 112 | 111.526 | 120
10.5 | 210 | 209 | 4.292 | #REF! | 4 | 118 | 117.708 | 126
11 | 221 | 220 | 4.11 | #REF! | 4 | 124 | 123.89 | 132
11.5 | 231 | 230 | 4.49 | #REF! | 4 | 130 | 129.51 | 138
12 | 242 | 241 | 4.308 | #REF! | 4 | 136 | 135.692 | 144
12.5 | 253 | 252 | 4.126 | #REF! | 4 | 142 | 141.874 | 150
13 | 263 | 262 | 4.506 | #REF! | 4 | 148 | 147.494 | 156
13.3333 | 271 | 270 | 4.01 | #REF! | 4 | 152 | 151.99 | 160
13.5 | 274 | 273 | 4.324 | #REF! | 4 | 154 | 153.676 | 162
14 | 285 | 284 | 4.142 | #REF! | 4 | 160 | 159.858 | 168
14.5 | 295 | 294 | 4.522 | #REF! | 4 | 166 | 165.478 | 174
15 | 306 | 305 | 4.34 | #REF! | 4 | 172 | 171.66 | 180
15.5 | 317 | 316 | 4.158 | #REF! | 4 | 178 | 177.842 | 186
16 | 327 | 326 | 4.538 | #REF! | 4 | 184 | 183.462 | 192
16.5 | 338 | 337 | 4.356 | #REF! | 4 | 190 | 189.644 | 198
16.6667 | 342 | 341 | 4.108 | #REF! | 4 | 192 | 191.892 | 200
17 | 349 | 348 | 4.174 | #REF! | 4 | 196 | 195.826 | 204
17.5 | 359 | 358 | 4.554 | #REF! | 4 | 202 | 201.446 | 210
18 | 370 | 369 | 4.372 | #REF! | 4 | 208 | 207.628 | 216
18.5 | 381 | 380 | 4.19 | #REF! | 4 | 214 | 213.81 | 222
19 | 392 | 391 | 4.008 | #REF! | 4 | 220 | 219.992 | 228
19.5 | 402 | 401 | 4.388 | #REF! | 4 | 226 | 225.612 | 234
20 | 413 | 412 | 4.206 | #REF! | 4 | 232 | 231.794 | 240
12" IPGC | [5 empty] | Max. Useable | Length
Length | # Slits | # Ribs | B2 | Open Area | B1 | Length | Used | Length
(ft) | SL# | SR# | (inches) | (SF) | (inches) | (inches) | (inches) | (in)
1.5 | 11 | 10 | 6.13 | #REF! | 6 | 6 | 5.87 | 18
2 | 21 | 20 | 6.51 | #REF! | 6 | 12 | 11.49 | 24
2.5 | 32 | 31 | 6.328 | #REF! | 6 | 18 | 17.672 | 30
3 | 43 | 42 | 6.146 | #REF! | 6 | 24 | 23.854 | 36
3.3333 | 50 | 49 | 6.212 | #REF! | 6 | 28 | 27.788 | 40
3.5 | 53 | 52 | 6.526 | #REF! | 6 | 30 | 29.474 | 42
4 | 64 | 63 | 6.344 | #REF! | 6 | 36 | 35.656 | 48
4.5 | 75 | 74 | 6.162 | #REF! | 6 | 42 | 41.838 | 54
5 | 85 | 84 | 6.542 | #REF! | 6 | 48 | 47.458 | 60
5.5 | 96 | 95 | 6.36 | #REF! | 6 | 54 | 53.64 | 66
6 | 107 | 106 | 6.178 | #REF! | 6 | 60 | 59.822 | 72
6.5 | 117 | 116 | 6.558 | #REF! | 6 | 66 | 65.442 | 78
6.6667 | 121 | 120 | 6.31 | #REF! | 6 | 68 | 67.69 | 80
7 | 128 | 127 | 6.376 | #REF! | 6 | 72 | 71.624 | 84
7.5 | 139 | 138 | 6.194 | #REF! | 6 | 78 | 77.806 | 90
8 | 150 | 149 | 6.012 | #REF! | 6 | 84 | 83.988 | 96
8.5 | 160 | 159 | 6.392 | #REF! | 6 | 90 | 89.608 | 102
9 | 171 | 170 | 6.21 | #REF! | 6 | 96 | 95.79 | 108
9.5 | 182 | 181 | 6.028 | #REF! | 6 | 102 | 101.972 | 114
10 | 192 | 191 | 6.408 | #REF! | 6 | 108 | 107.592 | 120
10.5 | 203 | 202 | 6.226 | #REF! | 6 | 114 | 113.774 | 126
11 | 214 | 213 | 6.044 | #REF! | 6 | 120 | 119.956 | 132
11.5 | 224 | 223 | 6.424 | #REF! | 6 | 126 | 125.576 | 138
12 | 235 | 234 | 6.242 | #REF! | 6 | 132 | 131.758 | 144
12.5 | 246 | 245 | 6.06 | #REF! | 6 | 138 | 137.94 | 150
13 | 256 | 255 | 6.44 | #REF! | 6 | 144 | 143.56 | 156
13.3333 | 263 | 262 | 6.506 | #REF! | 6 | 148 | 147.494 | 160
13.5 | 267 | 266 | 6.258 | #REF! | 6 | 150 | 149.742 | 162
14 | 278 | 277 | 6.076 | #REF! | 6 | 156 | 155.924 | 168
14.5 | 288 | 287 | 6.456 | #REF! | 6 | 162 | 161.544 | 174
15 | 299 | 298 | 6.274 | #REF! | 6 | 168 | 167.726 | 180
15.5 | 310 | 309 | 6.092 | #REF! | 6 | 174 | 173.908 | 186
16 | 320 | 319 | 6.472 | #REF! | 6 | 180 | 179.528 | 192
16.5 | 331 | 330 | 6.29 | #REF! | 6 | 186 | 185.71 | 198
16.6667 | 335 | 334 | 6.042 | #REF! | 6 | 188 | 187.958 | 200
17 | 342 | 341 | 6.108 | #REF! | 6 | 192 | 191.892 | 204
17.5 | 352 | 351 | 6.488 | #REF! | 6 | 198 | 197.512 | 210
18 | 363 | 362 | 6.306 | #REF! | 6 | 204 | 203.694 | 216
18.5 | 374 | 373 | 6.124 | #REF! | 6 | 210 | 209.876 | 222
19 | 384 | 383 | 6.504 | #REF! | 6 | 216 | 215.496 | 228
19.5 | 395 | 394 | 6.322 | #REF! | 6 | 222 | 221.678 | 234
20 | 406 | 405 | 6.14 | #REF! | 6 | 228 | 227.86 | 240
12" IPGC - With Center Support - *Per Side of Support | [5 empty] | Max. Useable | Length
Length | # Slits* | # Ribs* | B2 | Open Area | B1 | Length | Used | Length
(ft) | SL# | SR# | (inches) | (SF) | (inches) | (inches) | (inches) | (in)
1.5 | 11 | 10 | 6.13 | #REF! | 6 | 6 | 5.87 | 18
2 | 21 | 20 | 6.51 | #REF! | 6 | 12 | 11.49 | 24
2.5 | 32 | 31 | 6.328 | #REF! | 6 | 18 | 17.672 | 30
3 | 43 | 42 | 6.146 | #REF! | 6 | 24 | 23.854 | 36
3.3333 | 50 | 49 | 6.212 | #REF! | 6 | 28 | 27.788 | 40
3.5 | 53 | 52 | 6.526 | #REF! | 6 | 30 | 29.474 | 42
4 | 64 | 63 | 6.344 | #REF! | 6 | 36 | 35.656 | 48
4.5 | 75 | 74 | 6.162 | #REF! | 6 | 42 | 41.838 | 54
5 | 85 | 84 | 6.542 | #REF! | 6 | 48 | 47.458 | 60
5.5 | 96 | 95 | 6.36 | #REF! | 6 | 54 | 53.64 | 66
6 | 107 | 106 | 6.178 | #REF! | 6 | 60 | 59.822 | 72
6.5 | 117 | 116 | 6.558 | #REF! | 6 | 66 | 65.442 | 78
6.6667 | 121 | 120 | 6.31 | #REF! | 6 | 68 | 67.69 | 80
7 | 128 | 127 | 6.376 | #REF! | 6 | 72 | 71.624 | 84
7.5 | 139 | 138 | 6.194 | #REF! | 6 | 78 | 77.806 | 90
8 | 150 | 149 | 6.012 | #REF! | 6 | 84 | 83.988 | 96
8.5 | 160 | 159 | 6.392 | #REF! | 6 | 90 | 89.608 | 102
9 | 171 | 170 | 6.21 | #REF! | 6 | 96 | 95.79 | 108
9.5 | 182 | 181 | 6.028 | #REF! | 6 | 102 | 101.972 | 114
10 | 192 | 191 | 6.408 | #REF! | 6 | 108 | 107.592 | 120
10.5 | 203 | 202 | 6.226 | #REF! | 6 | 114 | 113.774 | 126
11 | 214 | 213 | 6.044 | #REF! | 6 | 120 | 119.956 | 132
11.5 | 224 | 223 | 6.424 | #REF! | 6 | 126 | 125.576 | 138
12 | 235 | 234 | 6.242 | #REF! | 6 | 132 | 131.758 | 144
12.5 | 246 | 245 | 6.06 | #REF! | 6 | 138 | 137.94 | 150
13 | 256 | 255 | 6.44 | #REF! | 6 | 144 | 143.56 | 156
13.3333 | 263 | 262 | 6.506 | #REF! | 6 | 148 | 147.494 | 160
13.5 | 267 | 266 | 6.258 | #REF! | 6 | 150 | 149.742 | 162
14 | 278 | 277 | 6.076 | #REF! | 6 | 156 | 155.924 | 168
14.5 | 288 | 287 | 6.456 | #REF! | 6 | 162 | 161.544 | 174
15 | 299 | 298 | 6.274 | #REF! | 6 | 168 | 167.726 | 180
15.5 | 310 | 309 | 6.092 | #REF! | 6 | 174 | 173.908 | 186
16 | 320 | 319 | 6.472 | #REF! | 6 | 180 | 179.528 | 192
16.5 | 331 | 330 | 6.29 | #REF! | 6 | 186 | 185.71 | 198
16.6667 | 335 | 334 | 6.042 | #REF! | 6 | 188 | 187.958 | 200
17 | 342 | 341 | 6.108 | #REF! | 6 | 192 | 191.892 | 204
17.5 | 352 | 351 | 6.488 | #REF! | 6 | 198 | 197.512 | 210
18 | 363 | 362 | 6.306 | #REF! | 6 | 204 | 203.694 | 216
18.5 | 374 | 373 | 6.124 | #REF! | 6 | 210 | 209.876 | 222
19 | 384 | 383 | 6.504 | #REF! | 6 | 216 | 215.496 | 228
19.5 | 395 | 394 | 6.322 | #REF! | 6 | 222 | 221.678 | 234
20 | 406 | 405 | 6.14 | #REF! | 6 | 228 | 227.86 | 240

## ASTM D1785 (hidden)
PVC and CPVC Pipes - Schedule 40
Nominal Pipe Size | Outside Diameter | Minimum Wall Thickness | Nominal Inside Diameter | Weight
(inches) | (inches) | (inches) | (inches) | (lb/100 ft)
|  |  |  | PVC | CPVC
0.5 | 0.84 | 0.109 | 0.622 | 16 | 17
0.75 | 1.05 | 0.113 | 0.824 | 21 | 23
1 | 1.315 | 0.133 | 1.049 | 32 | 34
1.25 | 1.66 | 0.14 | 1.38 | 43 | 46
1.5 | 1.9 | 0.145 | 1.61 | 51 | 55
2 | 2.375 | 0.154 | 2.067 | 68 | 74
2.5 | 2.875 | 0.203 | 2.469 | 107 | 118
3 | 3.5 | 0.216 | 3.068 | 141 | 154
4 | 4.5 | 0.237 | 4.026 | 201 | 220
5 | 5.563 | 0.258 | 5.047 | 273
6 | 6.625 | 0.28 | 6.065 | 353 | 386
8 | 8.625 | 0.322 | 7.981 | 539 | 581
10 | 10.75 | 0.365 | 10.02 | 755 | 824
12 | 12.75 | 0.406 | 11.938 | 1001 | 1089
14 | 14 | 0.438 | 13.124 | 1180
16 | 16 | 0.5 | 15 | 1543
PVC and CPVC Pipes - Schedule 80
Nominal Pipe Size | Outside Diameter | Minimum Wall Thickness | Nominal Inside Diameter | Weight
(inches) | (inches) | (inches) | (inches) | (lb/100 ft)
|  |  |  | PVC | CPVC
0.5 | 0.84 | 0.147 | 0.546 | 20 | 22
0.75 | 1.05 | 0.154 | 0.742 | 27 | 30
1 | 1.315 | 0.179 | 0.957 | 41 | 44
1.25 | 1.66 | 0.191 | 1.278 | 52 | 61
1.5 | 1.9 | 0.2 | 1.5 | 67 | 74
2 | 2.375 | 0.218 | 1.939 | 95 | 102
2.5 | 2.875 | 0.276 | 2.323 | 145 | 156
3 | 3.5 | 0.3 | 2.9 | 194 | 209
4 | 4.5 | 0.337 | 3.826 | 275 | 305
5 | 5.563 | 0.375 | 4.813 | 387
6 | 6.625 | 0.432 | 5.761 | 542 | 582
8 | 8.625 | 0.5 | 7.625 | 805 | 883
10 | 10.75 | 0.593 | 9.564 | 1200 | 1309
12 | 12.75 | 0.687 | 11376 | 1650 | 180
14 | 14 | 0.75 | 12.5 | 1930
16 | 16 | 0.843 | 14.314 | 2544

## Sizing
Flow Determination Request
You will only be able to type in the green cells
A | How much land area will be contributing drainage runoff to your system. | Please Enter the Contributing Drainage Area
Please enter the area in units of square feet or acres.
B | If the area you provided is in units of square feet, Type 1. | Please enter a 1 or a 2
If the area you provided is in units of acres, Type 2.
C | Enter the total percentage of the contributing area consisting of concrete and/or asphalt. | Value is currently set at 0%
The percentage provided should inlcude all concrete and asphalt areas.
D | Enter the total percentage of the contributing area that is a lawn or man-made landscaping. | Value is currently set at 0%
The percentage provided should inlcude all lawn and man-made landscaping areas
| If you would consider this area to be 0-50% vegetated, type 0.1. | Value is currently set at 0. If the % above is 0, this is okay. Else, please enter the appropriate value.
If you would consider this area to be 50-75% vegetated, type 0.2.
If you would consider this area to be 75-90% vegetated, type 0.25.
If you would consider this area to be >90% vegetated, type 0.3.
If you would consider this area to be 100% vegetated, with heavy brush & trees, type 0.6.
E | Based on your entries in C & D, the total percentage of undisturbed land in the contributing | Value is currently set at 0%
drainage area is:
| If you would consider this area to be 0-50% vegetated, type 0.1. | Value is currently set at 0. If the % above is 0, this is okay. Else, please enter the appropriate value.
If you would consider this area to be 50-75% vegetated, type 0.2.
If you would consider this area to be 75-90% vegetated, type 0.25.
If you would consider this area to be >90% vegetated, type 0.3.
If you would consider this area to be 100% vegetated, with heavy brush & trees, type 0.6.
F | What is the approximate distance in feet from the farthest end of the drainage area (upstream) to your point of capture? Please enter in feet. | Enter Distance in feet
G | How many linear feet of Distance F above spans across asphalt or pavement? | Value is currently set at 0 feet | Enter Distance F
H | How many linear feet of Distance F above spans across a lawn or man-made landscaped area? | Value is currently set at 0 feet
I | How many linear feet of Distance F above spans across natural or undisturbed area? | Value is currently set at 0 feet
J | What is the approximate difference in elevation from the upstream end of Distance F to the downstream end of Distance F? | Value is currently set at 0
K | Is your project in the United States? (Type Y for yes or N for no.) | Enter Y or N
L | What State will the project be in? (Type in the Name of the State or Correct Abbreviation.) | Please Enter the U.S. State
M | What County or Parish will the project be in? (Type in the full name of the County or Parish.) | Please Enter the State County or Parish
N | What country or territory do you live in? |  | If your project is not in the United States, a country or territory must be provided.
O | What other information can you provide to us about where your project is? |  | This field is optional, but recommended
P | If you have reached this point, the form should be correctly filled out. Please double check it, save it, and email a copy of it to us at rst@agrateconcept.com.
You will receive a response within 2-5 business days. If you do not, please call 1-830-367-4992 to receive assistance. Thank You.